Commercial Certificate of Occupancy Contractor Checklist

BUILDING INSPECTION

385 Kimbark Street, Longmont, CO  80501

Ph 303-651-8332;  Fax 303-651-8930 email:

building.inspection@longmontcolorado.gov

CITY OF LONGMONT

COMMERCIAL C. O. CONTRACTOR CHECKLIST

[   ]	$100 TCO FEE (If TCO prior to C.O.)

[   ]	ENGINEER SOIL (Open hole) LETTER (If Required)

[   ]	ENGINEER FOOTING/CAISSON LETTER (If Required)

[   ]	ENGINEER FOUNDATION LETTER (If Required)

[   ]	ENGINEER DAMPPROOF/PERIMETER DRAIN LETTER (If Required)

[   ]	SPECIAL INSPECTION LETTER(S) BY ENGINEER (If Required)

[   ]	OTHER REPORTS/LETTERS (IF REQUIRED)

[   ]	HVAC BALANCE REPORT TURNED IN FOR REVIEW (If Required)

[   ]	LIGHTING FUNCTIONAL TEST REPORT (SUBMITTED FROM ELECTRICIAN)

[   ]	PLANNING APPROVAL – (CONTACT PROJECT PLANNER THEN SCHEDULE)

- Lighting per Photometric

- Landscape

- Parking (A.D.A., cars & bikes)

- Building elevation

- Signs

- Grading

[   ] 	W/WW DEPARTMENT FINAL WATER METER

[   ] 	BACKFLOW TEST COMPLETED (PROVIDE REPORT IF REQUIRED)

[   ]	PUBLIC WORKS DEPARTMENT APPROVAL (PERMIT SIGNED AS FINAL DRAIN)

[   ]	FIRE DEPT APPROVAL (INSPECTION PERMIT SIGNED IF REQUIRED)

[   ]	HEALTH DEPARTMENT APPROVAL (PROVIDE COPY OF REPORT IF REQUIRED)

[   ] 	ILC AND GRADING OR ELEVATION CERTIFICATE (If Required)

[   ]	THIRD PARTY ENERGY INSPECTION REPORTS (If Required)

[   ] 	ORIGINAL PERMIT CARD WITH INSPECTOR SIGN-OFFS

**PLEASE VERIFY ALL INSPECTION ITEMS ON PERMIT CARD HAVE BEEN SIGNED OFF BY CITY OF LONGMONT INSPECTORS FROM ALL INVOLVED DEPTS. BEFORE REQUESTING A C OF O. OR CERTIFICATE OF COMPLETION. ENGINEER INSPECTIONS ARE NOT SCHEDULED. PLEASE INCLUDE ENGINEER LETTERS WITH SIGNED PERMIT, LIGHTING FUNCTIONAL REPORT, BALANCE REPORT & OTHER NECESSARY DOCUMENTS AS NEEDED.

Please schedule inspections online at: https://aca.ci.longmont.co.us/CitizenAccess/